## Slide 1
ECG Monitor
Single Lead Analog
Heart Rate Monitor

## Slide 2
ECG Waveform

## Slide 3
ECG Waveform
ECG Monitor

## Slide 4
ECG Waveform
ECG Monitor

## Slide 5
ECG Waveform
Animation of a normal ECG wave
Electrocardiography - Wikipedia
Formation of limb waveforms during a pulse
ECG Monitor

## Slide 6
ECG Leads
ECG Monitor

## Slide 7
ECG Leads
The limb leads and augmented limb leads (Wilson's central terminal is used as the negative pole for the latter in this representation)
Electrocardiography - Wikipedia
ECG Monitor

## Slide 8
ECG Leads
The lead matrix of the Frank VCG-system. The electrodes are marked I, E, C, A, M, F, and H, and their anatomical positions are shown. The resistor matrix results in the establishment of normalized x-, y-, and z-component lead vectors, as described in the text.
16. Vectorcardiographic Lead Systems (bem.fi)
ECG Monitor

## Slide 9
ECG Espectra
ECG Monitor

## Slide 10
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Overview
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 11
Funtional Block Diagram 2010
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 12
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 13
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 14
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 15
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4693
Introduction to Electrocardiograph, Maxim AN4693
ECG Monitor

## Slide 16
Analog Front End (AFE)
https://www.analog.com/media/en/technical-documentation/data-sheets/AD8233.pdf
ECG Monitor

## Slide 17
Analog Front End (AFE)
ECG Monitor

## Slide 18
Example Schematic
Analog Front End (AFE)
ECG Monitor

## Slide 19
Analog Front End (AFE)
https://www.analog.com/media/en/technical-documentation/data-sheets/AD8233.pdf
ECG Monitor

## Slide 20
Analog Front End (AFE)
ECG Monitor

## Slide 21
Analog Front End (AFE)
ECG Monitor

## Slide 22
Analog Front End (AFE)
ECG Monitor

## Slide 23
Analog Front End (AFE)
ECG Monitor

## Slide 24
Analog Front End (AFE)
Formulas del filtro pasa alto
Filtro pasa alto de dos polos para el AD8232
Tanto Sparkfun como MIKROE emplean:
R1 = R2 = 10 MΩ
C1 = C2 = 0.33 μF
Rcomp = 1,4 MΩ
fc = 0,48 Hz
Tanto Sparkfun como MIKROE emplean:
R1 = R2 = R3 = 1 MΩ
R4 = 100 kΩ
C1 = 1,5 nF
C2 = 10 nF
fc = 41 Hz
GainLP = 11
Q = 0,77
Filtro pasa bajo de dos polos para el AD8232
Formulas del filtro pasa bajo
MIKROE ECG 5
SparkFun AD8232
Cardiac monitor Configuration
INA DC Gain = GainINA = 100
Total Gain = GainINA x GainLP
= 100 x 11 = 1100
= 60.83 dB
ECG Monitor

## Slide 25
Analog Front End (AFE)
https://www.sparkfun.com/products/12650
https://github.com/sparkfun/AD8232_Heart_Rate_Monitor
SparkFun AD8232
Single Lead Heart Rate Monitor
ECG Monitor
OEM example with AD8232

## Slide 26
Analog Front End (AFE)
SparkFun AD8232 Single Lead Heart Rate Monitor Schematic
ECG Monitor
OEM example with AD8232

## Slide 27
https://easyeda.com/Sungchankim/Single_Lead_Heart_Rate_Monitor_AD8232_Open_hardware-2c0cavtPN_copy
EasyEDA (Open hardware_Org)
Analog Front End (AFE)
SparkFun AD8232 Single Lead Heart Rate Monitor PCB
ECG Monitor
OEM example with AD8232

## Slide 28
Analog Front End (AFE)
SparkFun AD8232 Single Lead Heart Rate Monitor
Different Options
ECG Monitor
OEM example with AD8232

## Slide 29
https://wiki.dfrobot.com/Heart_Rate_Monitor_Sensor_SKU__SEN0213
DFROBOT Gravity: Analog Heart Rate Monitor Sensor (ECG) For Arduino SKU:SEN0213
Analog Front End (AFE)
https://www.dfrobot.com/product-1510.html
ECG Monitor
OEM example with AD8232

## Slide 30
https://wiki.dfrobot.com/Heart_Rate_Monitor_Sensor_SKU__SEN0213
https://www.dfrobot.com/product-1510.html
DFROBOT Gravity: Analog Heart Rate Monitor Sensor (ECG) For Arduino SKU:SEN0213
Analog Front End (AFE)
ECG Monitor
OEM example with AD8232

## Slide 31
ECG 5 click can be used for the development of ECG and Heart-Rate (HR) applications. The Click board™ features the AD8232, an integrated bio-signal front end. This IC has many features necessary for providing accurate ECG measurements, including very high common-mode rejection ratio, high gain with DC blocking capability, adjustable high-pass and low-pass filters, integrated right leg drive (RLD), etc. Electrodes presence detection pin helps to reduce the overall power consumption, as it can be used to set the standby mode of the host MCU. The fully conditioned bio-signal is available at the analog output to be sampled by an external A/D converter.
Analog Front End (AFE)
OEM example with AD8232: MIKROE ECG 5 Click
https://www.mikroe.com/ecg-5-click
ECG Monitor

## Slide 32
Analog Front End (AFE)
MIKROE ECG 5 Click Schematic
OEM example with AD8232
ECG Monitor

## Slide 33
Analog Front End (AFE)
OEM example with ADS1194
ECG 2 click contains ADS1194 16-bit delta-sigma analog-to-digital converters from Texas Instruments, a built-in programmable gain amplifier (PGA), an internal reference, and an onboard oscillator.
The click communicates with the target MCU over SPI and the following mikroBUS pins: PWM, AN and INT. ECG 2 click runs on 3.3V and 5V power supply.
MIKROE ECG 2 click
https://www.mikroe.com/ecg-2-click
ECG Monitor

## Slide 34
Analog Front End (AFE)
MIKROE ECG 2 Click Schematic
OEM example with ADS1294
ECG Monitor

## Slide 35
SMD Passive Components
Surface-mount technology (SMT) is a method for producing electronic circuits in which the components are mounted or placed directly onto the surface of printed circuit board (PCBs).
An electronic device so made is called a surface-mount device (SMD)
ECG Monitor

## Slide 36
Protection
ECG Monitor

## Slide 37
Features
• Protects Electrocardiographic (ECG) Monitoring Equipment
(ME) Against Effects of Defibrillation
• Very Small Size and Very Low Leakage
• Integrates Zener Diodes and SCRs into a Single IC
• Easily Expandable to M×5 Channels
• Facilitates Compliance with IEC 60601-2-25 and
IEC 60601-2-27
• Extremely Fast Turn-On
• Five Terminals Plus Substrates
• 28-Pin QFN Package
• Medical-Level Traceability
ZL70590
EKG/ECG
Surge Protection Device
Protection
https://www.microsemi.com/existing-parts/parts/137888
ECG Monitor

## Slide 38
Input Protection Examples
Protection
ECG Monitor

## Slide 39
Respuesta en frecuencia del circuito de protección (pasa bajo)
Protection
Bode de amplitud del circuito de protección. f3dB = 67.8 KHz
ECG Monitor
Consider Input Protection

## Slide 40
Protection
ECG Monitor

## Slide 41
Discrete ECG Amplifier with INA
Right Leg
ECG Monitor

## Slide 42
Discrete ECG Amplifier with INA
Right Leg and Protection
ECG Monitor

## Slide 43
EMI Supression
ECG Monitor

## Slide 44
EMI Supression
ECG Monitor

## Slide 45
EMI Supression
ECG Monitor

## Slide 46
EMI Supression
ECG Monitor

## Slide 47
EMI Supression
ECG Monitor

## Slide 48
EMI Supression
ECG Monitor

## Slide 49
EMI Supression
ECG Monitor

## Slide 50
EMI Supression
ECG Monitor

## Slide 51
EMI suppression
http://www.ti.com/lit/an/szza009/szza009.pdf
https://www.murata.com/products/emc/emifil/knowhow/basic
https://resources.altium.com/presentations/pcb-design-techniques-to-reduce-emi
https://resources.altium.com/ebooks/pcb-design-techniques-to-reduce-emi-ebook
https://resources.orcad.com/blog/techniques-to-reduce-emi-in-your-pcb-designs
https://www.eetimes.com/author.asp?section_id=36&doc_id=1327269#
Considerar las opciones Murata (Murata_EMILFIL_c31e-794748.pdf):
Ferrite Bead: BLM18PG121SN1
Capacitor Type: NFM18PS105D0J3
Common Mode Choque Coil: No
EMI Supression
ECG Monitor

## Slide 52
EMI Supression
ECG Monitor

## Slide 53
EMI Supression
ECG Monitor

## Slide 54
EMI Supression
ECG Monitor

## Slide 55
EMI Supression
ECG Monitor

## Slide 56
EMI Supression
ECG Monitor

## Slide 57
Respuesta del NFM18PS105D0J3D sin los condensadores
La inclusión de 3-terminal capacitor + capacitor (configuración π) para 3.3 V del conector mikroBus logra atenuar el ruido en frecuencias mayores a 100 KHz que incluye las frecuencias del microcontrolador de la aplicación. Además, protege del ruido de módulos de comunicaciones tipo WiFi y Bluetooth.
EMI Supression
ECG Monitor
Consider 3 terminal capacitor for power supply
Configuración tipo

## Slide 58
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 59
Simulaciones:
Caso AD8232:
El modelo Spice no simula completamente el AD8232.
El modelo Spice fue modificado y se consiguió que:
Se produce una salida OUT con ganancia 900 @ 5 Hz y Voffset = 1.64 V.
Los pines del AD8232 que el modelo Spice no soporta correctamente son:
SW, AD_DC, SDN, LOD+, LOD-
Eliminar solo el cable conectado al pin SW:
Para que la simulación con osciloscopio digital funcione.
El modelo también funciona para el Bode de amplitud y fase de la ganancia modo diferencial.
Pero no funciona para el Bode de amplitud y fase de la ganancia modo común.
Exclude form Simulation para osciloscopio digital:
66226-008
BAS40W-04 (produce atenuación)
Exclude form Simulation para GRAPH de frecuencia (Bode de amplitud y fase de la ganancia modo diferencial):
Generador de ECG HDL
BAS40W-04
LED-RED
LED-GREEN
66226-008 (conector header macho)
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 60
Bode de amplitud y fase de la ganancia modo diferencial Avd = Vo / Vid
Caso pasa bajo: fc = 43.6 Hz
Caso pasa alto: fc = 0.445 Hz.
Avd = 59,1 dB frecuencias medias
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 61
Vid (onda senoidal 1 mVp @ 5 Hz) y Vo (OUT)
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 62
. Vid (onda cuadrada 1 mVp @5 Hz) y Vo (OUT)
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 63
Vid (ECG simulado 0.625 mVp) y Vo (OUT)
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor

## Slide 64
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8)
ECG Monitor
BOM

## Slide 65
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor (based on AFE TI AD8232) Schematic (P8.3)
ECG Monitor

## Slide 66
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor basado en AFE TI AD8232 BOM (P8.3)
ECG Monitor

## Slide 67
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor basado en AFE TI AD8232 PCB Layout
ECG Monitor

## Slide 68
Proyecto IIa con Proteus
Single Lead Heart Rate Monitor basado en AFE TI AD8232 3D Model
ECG Monitor